# CONSENT AGENDA

###### NEPOOL RELIABILITY COMMITTEE (RC) ANNUAL MEETING

September 21, 2021

LOCATION:	WebEx Teleconference

# Call-in Number: 1-866-711-7475 / Access Code: 8562734

Level 0 Generation Solar Proposed Plan Applications (PPA) Notification(s)

| Item | Identifier | Applicant | Description |
| --- | --- | --- | --- |
| 4.1 | ES-21-G45 | Eversource Energy on behalf of Air Line Renewables | Air Line Renewables Soap Street Danielson Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 4.0 MW solar PV in Danielson, CT and interconnecting to the Tracy Substation via the 14M24 23 kV circuit. Proposed in-service date is December 31, 2021. (M. Preston August 10, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.2 | ES-21-G101 | Eversource Energy on behalf of Air Line Renewables | Air Line Renewables Alexander Parkway Dayville Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 4.0 MW solar PV in Dayville, CT and interconnecting to the Tracy Substation via the 14M 23 kV circuit. Proposed in-service date is December 31, 2021. (M. Preston August 10, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.3 | ES-21-G46 | Eversource Energy on behalf of Air Line Renewables | Air Line Renewables Lake Road Dayville Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 2.0 MW solar PV in Dayville, CT and interconnecting to the Tracy Substation via the 14M 23 kV circuit. Proposed in-service date is December 31, 2021. (M. Preston August 10, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.4 | ES-21-G47 | Eversource Energy on behalf of Air Line Renewables | Air Line Renewables Wrights Crossing Road Pomfret Center Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 2.0 MW solar PV in Pomfret Center, CT and interconnecting to the Tracy Substation via the 14M 23 kV circuit. Proposed in-service date is December 31, 2021. (M. Preston August 10, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.5 | ES-21-G48 | Eversource Energy on behalf of Air Line Renewables | Air Line Renewables Providence Pike Putnam Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 2.0 MW solar PV in Putnam, CT and interconnecting to the Tracy Substation via the 14M 23 kV circuit. Proposed in-service date is December 31, 2021. (M. Preston August 10, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.6 | ES-21-G109 | Eversource Energy on behalf of Kearsarge Energy | Kearsarge Energy Dunbarton Road Manchester Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 2.49 MW solar PV in Manchester, NH and interconnecting to the Rimmon Substation via the 334R 34.5 kV circuit. Proposed in-service date is December 31, 2021. (M. Preston September 2, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.7 | ES-21-G110 | Eversource Energy on behalf of ReVision Energy | ReVision Energy Pickering Road Rochester Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 3.3 MW solar PV in Rochester, NH and interconnecting to the Dover Substation via the 371D 34.5 kV circuit. Proposed in-service date is December 1, 2022. (M. Preston September 2, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.8 | NEP-20-G04-005-Rev. 1 | New England Power on behalf of ECA Solar | ECA Solar Strawberry Field Road Warwick Solar Rev. 1 - Level 0 (New England Power: Jack Martin) 3.0 MW solar PV in Warwick, RI and interconnecting to the Drumrock Substation via the 2222 23 kV circuit. Proposed in-service date is April 1, 2022. (N. Neilsen September 3, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.9 | ES-21-G108 | Eversource Energy on behalf of Niagara Bottling | Niagara Bottling Woodland Avenue Bloomfield Solar - Level 0 ***CEII TOPIC*** (Eversource Energy: Bob Andrew) 2.82 MW solar PV in Bloomfield, CT and interconnecting to the North Bloomfield Substation via the 2A2 23 kV circuit. Proposed in-service date is January 10, 2022. (M. Preston August 23, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.10 | VELCO-21-GNF01 | VELCO on behalf of MacKinnon Solar | MacKinnon Solar Cold River Road Rutland Solar - Level 0 (VELCO: Frank Ettori) 2.192 MW solar PV in Rutland, VT and interconnecting to the South Rutland via the G71 12.47 kV circuit. Proposed in-service date was August 26, 2021, 2022. (F. Ettori August 2, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.11 | ES-21-G26-Rev.1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Westport Stone & Sand Westport Solar Rev. 1 – Level 0 ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to a 4.95 MW solar PV in Westport, MA and interconnecting to the Fisher Road Substation via the 2-522-522 13.2 kV circuit. Proposed in-service date is September 30, 2021. (M. Preston September 7, 2021 Cover Letter, Generator Notification and One Line Diagram) |
|  |  |  | Total: 11 Solar Notifications – 32.752 MWs |

Level 0 Solar Generation and Battery PPA Notification(s)

| 4.12 | NEP-21-GNF16 | New England Power on behalf of Agilitas Energy | Agilitas Energy Fall River Avenue Seekonk Solar and Battery - Level 0 (New England Power: Jack Martin) 4.99 MW solar PV and 3.0 MW/9.0 MWh battery in Seekonk, MA and interconnecting to the Mink Street Substation via the 7L5 13.2 kV circuit. Proposed in-service date is May 1, 2023. (J. Tobin September 3, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| --- | --- | --- | --- |
| 4.13 | ES-21-G73-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Maple Springs Road Wareham Solar and Battery Rev. 1 – Level 0 ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to a 4.99 MW solar PV and 4.99 MW/26 MWh battery in Wareham, MA and interconnecting to the Wareham #714 Substation via the 3-84-84 23 kV circuit. Proposed in-service date is April 8, 2022. (M. Preston September 7, 2021 Cover Letter, Generator Notification and One Line Diagram) |
| 4.14 | ES-21-G24-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Pine Hill Road Westport Solar and Battery Rev. 1 – Level 0 ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to a 3.25 MW solar PV and 3.25 MW/6.75 MWh battery in Wareham, MA and interconnecting to the Fisher Road Substation via the 2-522-522 13.2 kV circuit. Proposed in-service date is December 1, 2021. (M. Preston September 7, 2021 Cover Letter, Generator Notification and One Line Diagram) |
|  |  |  | Total: 3 Solar & Battery – 13.23 Solar & 11.24 MW/41.75 MWh Battery |

Other Generation PPA Notifications

NONE

Level I Transmission PPA Notification(s)

| 4.15 | VELCO-21-T01 | VELCO | Florence Substation Transformer Replacement - Level I ***CEII TOPIC*** (VELCO: Hantz Presume) Replace the 56 MVA 115/46 kV transformer at the Florence Substation. Proposed in-service date is December 2022. (H. Presume August 23, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| --- | --- | --- | --- |
| 4.16 | ES-21-T50 | Eversource Energy | Line G192 Conductor Replacement - Level I ***CEII TOPIC*** (Eversource Energy: Bob Andrew) Replace the 1.29 miles for Line G192 from structure 2 to structure 17 with 795 ACSR 16/7 conductors between Bridge Street substation in Nashua, NH and Power Street substation in Hudson, NH. Proposed in-service date is December 2021. (M. Li August 30, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.17 | NEP-21-X02 | New England Power Company | GE Lynn (Riverworks) Source Transfer System (STS) Automatic Control Scheme - Level I ***CEII TOPIC*** (New England Power: Jack Martin) Implement a utility source transfer system (STS) at their Lynn (Riverworks) facility’s 115 kV substation. For planned outages, the STS will manage closed-transition transfer between National Grid (NGRID) utility source lines A-179 and Q-169, without interruption to GE facility load. Upon manual initiation, the STS will perform automated closed-transition transfer from the active to the alternate source line. For unplanned outages, the STS will provide open-transition transfer to the alternate line, with minimal interruption to GE load. This open-transition transfer will be fully automated by the STS upon detecting loss of voltage at the active source line The proposed in-service date is December 2021. (S. Sarkar August 19, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.18 | ES-21-T88 | Eversource Energy | Line D108 115 kV Rebuild - Level I ***CEII TOPIC*** (Eversource Energy: Bob Andrew) Replace the 1.28-miles of the 115-kV line D108 between North Keene substation and Keene substation with 1272 ACSS 54/19 conductors. The proposed in-service date is December 2021. (J. Vaile August 26, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.19 | ES-21-T62-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Upgrade Wareham Substation to Six-Breaker Ring Bus Configuration Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to upgrade the Wareham Substation to a six-breaker 115 kV ring bus configuration. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.20 | ES-21-T63-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace Wareham Substation Transformer #1 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the Wareham Substation transformer #1 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.21 | ES-21-T64-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace Wareham Substation Transformer #3 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the Wareham Substation transformer #3 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.22 | ES-21-T65-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Reconductor 115 kV Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to reconductor the 115 kV 132 Line between Brook Street Station and West Pond Substation. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.23 | ES-21-T66-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Upgrade West Pond Substation Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to upgrade the West Pond Substation to a six-breaker 115 kV ring bus configuration. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.24 | ES-21-T67-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace West Pond Substation Transformer #1 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the West Pond Substation transformer #1 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.25 | ES-21-T68-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace West Pond Substation Transformer #2 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the West Pond Substation transformer #2 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.26 | ES-21-T69-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace West Pond Substation Transformer #3 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the West Pond Substation transformer #3 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.27 | ES-21-T73-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace Tremont Substation Transformer #1 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the Tremont Substation transformer #1 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.28 | ES-21-T74-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace Tremont Substation Transformer #2 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the Tremont Substation transformer #2 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.29 | ES-21-T75-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace Tremont Substation Transformer #3 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the Tremont Substation transformer #3 with a new 45/60/75 MVA 115/23 kV transformer. The proposed in service date of the project is January 2026. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.30 | ES-21-T80-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace Fisher Road Substation Transformer #1 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the Fisher Road Substation transformer #1 with a new 37/50/62.5 MVA 115/13.2 kV transformer. The proposed in service date of the project is July 2025. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
| 4.31 | ES-21-T81-Rev. 1 | Eversource Energy | Eversource ASO Study Interconnections in SEMA and Cape Cod Generation and Transmission Project – Replace Fisher Road Substation Transformer #2 Rev. 1 – Level I ***CEII TOPIC*** (Eversource Energy: Goodarz Ghanavati) Minor revision to replace the Fisher Road Substation transformer #2 with a new 37/50/62.5 MVA 115/13.2 kV transformer. The proposed in service date of the project is July 2025. (M. Preston September 7, 2021 Cover Letter, Transmission Notification and One Line Diagram) |
|  |  |  | Total: Notification – 17 Transmission PPAs |

PPA Withdrawal Notification(s)

| 4.32 | NEP-21-GNF03 | New England Power | Sun Power River Street Dunstable Solar and Battery PPA Withdrawal (New England Power: Jack Martin) PPA withdrawal request for a 4.89 MW battery facility in Dunstable, MA interconnecting to the Groton substation via the 226L1 feeder. (J. Tobin September 3, 2021 PPA Withdrawal Notification) |
| --- | --- | --- | --- |
| 4.33 | NEP-20-G03-046 | New England Power | NextEra Energy Palmer Road Brimfield Solar and Battery PPA Withdrawal (New England Power: Jack Martin) PPA withdrawal request for a 3.0 MW battery facility in Brimfield, MA interconnecting to the Palmer substation via the 503L4 feeder. (J. Tobin September 3, 2021 PPA Withdrawal Notification) |
|  |  |  | Total: 2 Generation PPA Withdrawal Notifications – 7.89 MWs |